## summary TC
Sunset calc426
Sample ID | ID # | total (µg C) | TC (µg C) | ± %
MR02_001-A(10min_uncoated)_f_offline | 1 | 10.6204 | 10.3561 | -2.4886
MR02_001-B(10min)_f_offline | 2 | 5.4306 | 5.1189 | -5.7401
MR02_001-C(5min_uncoated)_f_offline | 3 | 3.4458 | 3.0896 | -10.3363
JS01-001-Del-DU-PM25-TC-14 | 4 | 12.2143 | 11.995 | -1.7953
JS01-001-Del-DU-PM25-TC-15 | 5 | 80.7914 | 82.1006 | 1.6205
JS01-001-Del-DU-PM25-TC-46 | 6 | 8.912 | 8.6552 | -2.8811
JS01-001-Del-DU-PM10-TC-14 | 7 | 11.8925 | 11.712 | -1.5178
JS01-001-Del-DU-PM10-TC-15 | 8 | 60.1267 | 60.9794 | 1.4182
OxII | 9 | 39.5219 | 40.0344 | 1.2966
JS01-001-Del-DU-PM10-TC-46 | 10 | 12.3635 | 12.1678 | -1.5829
20200915_batch36_fep3_standard_TC_1.5 | 11 | 11.9856 | 11.8068 | -1.4916
20200915_batch36_fep4_standard_TC_1.5 | 12 | 22.8795 | 22.9362 | 0.24763
20200922_batch36_falcon3_standard_tc_completefilter_1.5 | 13 | 99.8855 | 101.4015 | 1.5177
20200922_batch36_falcon4_standard_tc_completefilter_1.5 | 14 | 70.174 | 71.1397 | 1.3761
20200922_batch36_fep4_standard_tc_completefilter_1 | 15 | 48.8399 | 49.4132 | 1.1737
20200922_batch37_falcon3_standard_tc_1.5 | 16 | 38.3618 | 38.7577 | 1.0321
20200924_batch38_falcon3_standard_tc_1.5 | 17 | 45.8066 | 46.3716 | 1.2336
20200922_batch37_falcon4_standard_tc_1.5 | 18 | 84.5289 | 85.9478 | 1.6786
20200922_batch37_falcon3_standard_tc_completefilter_1.5 | 19 | 31.8039 | 32.0434 | 0.75317
20200922_batch37_falcon4_standard_tc_completefilter_1.5 | 20 | 62.8355 | 63.6901 | 1.3601
20200922_batch37_fep3_standard_tc_1.5 | 21 | 39.2349 | 39.648 | 1.0529
20200922_batch37_fep3_standard_tc_completefilter_1.5 | 22 | 92.7179 | 93.9731 | 1.3538
20200922_batch37_fep4_standard_tc_1.5 | 23 | 45.0806 | 45.6293 | 1.2173
20200922_batch37_fep4_standard_tc_completefilter_1.5 | 24 | 76.0904 | 77.1991 | 1.4572
Online
mr01-169-A3 | 25 | 89.2366 | 91.0042 | 1.9809
mr01-169-B3 | 26 | 128.8715 | 131.1061 | 1.7339
mr01-169-C3 | 27 | 112.8052 | 114.8591 | 1.8208
mr01-169-D3 | 28 | 174.4695 | 177.8172 | 1.9188
mr01-169-E3 | 29 | 65.2862 | 66.4561 | 1.792
mr01-169-F3 | 30 | 73.6281 | 74.9774 | 1.8326

## summary TC sorted
Sunset calc426
Sample ID | ID # | total (µg C) | TC (µg C) | ± %
MR02_001-C(5min_uncoated)_f_offline | 3 | 3.4458 | 3.0896 | -10.3363
MR02_001-B(10min)_f_offline | 2 | 5.4306 | 5.1189 | -5.7401
JS01-001-Del-DU-PM25-TC-46 | 6 | 8.912 | 8.6552 | -2.8811
MR02_001-A(10min_uncoated)_f_offline | 1 | 10.6204 | 10.3561 | -2.4886
JS01-001-Del-DU-PM10-TC-14 | 7 | 11.8925 | 11.712 | -1.5178
20200915_batch36_fep3_standard_TC_1.5 | 11 | 11.9856 | 11.8068 | -1.4916
JS01-001-Del-DU-PM25-TC-14 | 4 | 12.2143 | 11.995 | -1.7953
JS01-001-Del-DU-PM10-TC-46 | 10 | 12.3635 | 12.1678 | -1.5829
20200915_batch36_fep4_standard_TC_1.5 | 12 | 22.8795 | 22.9362 | 0.24763
20200922_batch37_falcon3_standard_tc_completefilter_1.5 | 19 | 31.8039 | 32.0434 | 0.75317
20200922_batch37_falcon3_standard_tc_1.5 | 16 | 38.3618 | 38.7577 | 1.0321
20200922_batch37_fep3_standard_tc_1.5 | 21 | 39.2349 | 39.648 | 1.0529
OxII | 9 | 39.5219 | 40.0344 | 1.2966
20200922_batch37_fep4_standard_tc_1.5 | 23 | 45.0806 | 45.6293 | 1.2173
20200924_batch38_falcon3_standard_tc_1.5 | 17 | 45.8066 | 46.3716 | 1.2336
20200922_batch36_fep4_standard_tc_completefilter_1 | 15 | 48.8399 | 49.4132 | 1.1737
JS01-001-Del-DU-PM10-TC-15 | 8 | 60.1267 | 60.9794 | 1.4182
20200922_batch37_falcon4_standard_tc_completefilter_1.5 | 20 | 62.8355 | 63.6901 | 1.3601
mr01-169-E3 | 29 | 65.2862 | 66.4561 | 1.792
20200922_batch36_falcon4_standard_tc_completefilter_1.5 | 14 | 70.174 | 71.1397 | 1.3761
mr01-169-F3 | 30 | 73.6281 | 74.9774 | 1.8326
20200922_batch37_fep4_standard_tc_completefilter_1.5 | 24 | 76.0904 | 77.1991 | 1.4572
JS01-001-Del-DU-PM25-TC-15 | 5 | 80.7914 | 82.1006 | 1.6205
20200922_batch37_falcon4_standard_tc_1.5 | 18 | 84.5289 | 85.9478 | 1.6786
mr01-169-A3 | 25 | 89.2366 | 91.0042 | 1.9809
20200922_batch37_fep3_standard_tc_completefilter_1.5 | 22 | 92.7179 | 93.9731 | 1.3538
20200922_batch36_falcon3_standard_tc_completefilter_1.5 | 13 | 99.8855 | 101.4015 | 1.5177
mr01-169-C3 | 27 | 112.8052 | 114.8591 | 1.8208
mr01-169-B3 | 26 | 128.8715 | 131.1061 | 1.7339
mr01-169-D3 | 28 | 174.4695 | 177.8172 | 1.9188

## summary OC
|  | Sunset calc426 |  |  | oc-calc
manual
Sample ID | ID # | total (µg C) | ECPk2 | S1 (µg C) | S1 (µg C) | S2 (µg C) | S3 (µg C) | total (µg C)
20201007_METAS_OCrem_Df-a | 1 | 9.3416 | 7.8289 |  | 7.6452 | 0.23344 | 0.52414 | 9.4753
20201007_METAS_OCrem_Df-b | 2 | 7.2615 | 6.1244 |  | 5.9277 | 0.13416 | 0.44298 | 7.5774
20201007_METAS_OCrem_Df-c | 3 | 7.5906 | 6.2948 |  | 6.0904 | 0.17591 | 0.46073 | 7.7996
20201007_METAS_OCrem_Ef-a | 4 | 6.5021 | 5.5146 |  | 5.3034 | 0.063644 | 0.33554 | 6.7751
20201007_METAS_OCrem_Ef-b | 5 | 7.797 | 6.5332 |  | 6.3587 | 0.23702 | 0.42627 | 8.0945
20201007_METAS_OCrem_Ef-c | 6 | 5.4851 | 4.6232 |  | 4.391 | 0.026291 | 0.27419 | 5.7641
20201007_METAS_OCrem_Kf-a | 7 | 6.5482 | 5.3925 |  | 5.1771 | 0.14936 | 0.40315 | 6.8022
20201007_METAS_OCrem_Kf-b | 8 | 6.4364 | 5.3454 |  | 5.1276 | 0.10561 | 0.40452 | 6.7103
20201007_METAS_OCrem_Kf-c | 9 | 5.4905 | 4.5695 |  | 4.351 | 0.051173 | 0.30249 | 5.7773
20201007_METAS_OCrem_Lf-a | 10 | 8.3579 | 6.9876 |  | 6.8026 | 0.2903 | 0.49881 | 8.6645
20201007_METAS_OCrem_Lf-b | 11 | 8.0454 | 6.802 |  | 6.6147 | 0.22231 | 0.42356 | 8.3331
20201007_METAS_OCrem_Lf-c | 12 | 8.5766 | 7.0866 |  | 6.9149 | 0.32369 | 0.57672 | 8.8879
MR01-169 India e | 13 | 44.3421 | 21.0197 | 21.495 | 21.5785 | 12.0423 | 10.3881 | 45.0812
MR01-169 India f | 14 | 47.3999 | 22.7796 | 23.25 | 23.3688 | 12.2719 | 11.389 | 48.1022
MR01-169 India g | 15 | 25.0889 | 12.2713 | 12.585 | 12.3561 | 6.0365 | 5.8418 | 25.307
MR01-169 India h | 16 | 33.6048 | 15.6876 | 16.065 | 15.9824 | 8.1738 | 8.9002 | 34.129
MR01-169 India i | 17 | 25.3071 | 14.1084 | 14.385 | 14.2258 | 5.4473 | 4.8929 | 25.6386
MR01-169 India j | 18 | 41.6818 | 18.9799 | 19.365 | 19.3529 | 10.705 | 11.0455 | 42.1761
MR01-169 India k | 19 | 60.3067 | 29.4648 | 29.925 | 30.3041 | 15.2323 | 14.8451 | 61.454
MR01-169 India l | 20 | 69.8961 | 33.4169 | 33.96 | 34.2183 | 17.1087 | 18.3585 | 70.758
MR01-169 India m | 21 | 23.4275 | 12.8486 | 13.17 | 12.9416 | 4.8499 | 4.9192 | 23.7833
B169_170_OC | 22 | 62.9477 | 42.2028 | 43.75 | 43.9006 | 10.0131 | 9.6988 | 64.477
B171_172_OC | 23 | 72.5833 | 51.8894 | 52.69 | 53.969 | 10.5747 | 9.2498 | 74.658
UD20_DOC_1 | 24 | 10.9711 | 6.8992 | 7.23 | 7.1408 | 1.6971 | 2.4118 | 12.1143
UD20_DOC_2 | 25 | 10.4355 | 6.0721 | 6.9 | 6.3994 | 1.7572 | 2.4904 | 11.5115
UD20_DOC_3 | 26 | 7.8916 | 4.6045 | 5.21 | 4.8257 | 1.2612 | 2.0293 | 8.9808
C15a | 27 | 11.9103 | 7.0946 |  | 7.02 | 2.2446 | 1.9203 | 12.2574
C15b | 28 | 10.7358 | 6.284 |  | 6.2159 | 2.064 | 1.8628 | 11.2154
C15c | 29 | 17.8715 | 10.4677 |  | 10.5575 | 4.2631 | 2.5028 | 18.3959
C15d | 30 | 12.5076 | 7.1613 |  | 7.0404 | 2.3136 | 2.2692 | 12.6957
C15e | 31 | 15.5002 | 8.7222 |  | 8.6972 | 3.51 | 2.508 | 15.7877
C15f | 32 | 14.5259 | 8.3236 |  | 8.2625 | 2.9014 | 2.5878 | 14.8243
c21a | 33 | 19.6842 | 11.0935 |  | 11.2591 | 4.7962 | 3.1238 | 20.2517
c21b | 34 | 22.1961 | 11.8222 |  | 11.8962 | 5.1085 | 4.5098 | 22.5868
c21c | 35 | 19.9992 | 11.1757 |  | 11.2551 | 4.3382 | 3.7557 | 20.4216
c21d | 36 | 14.6083 | 8.4396 |  | 8.4308 | 2.8614 | 2.6424 | 15.0071
c21e | 37 | 19.2375 | 11.3202 |  | 11.3795 | 3.9387 | 3.2365 | 19.6277
c21f | 38 | 15.5402 | 9.4975 |  | 9.4775 | 2.9018 | 2.4045 | 15.8563
Old dataset - Calc 405 and other NDIR CalConstant
I2-A | 39 | 36.4947 |  |  | 22.1874 | 5.0035 | 8.7904 | 36.8942
I2-B | 40 | 14.3189 |  |  | 8.5168 | 1.9669 | 2.9867 | 14.3836
I3-A | 41 | 29.8033 |  |  | 17.7045 | 5.8449 | 5.5949 | 30.0573
I3-B | 42 | 27.2223 |  |  | 16.6373 | 4.9496 | 4.9027 | 27.4027
B2-A | 43 | 22.3031 |  |  | 14.5588 | 3.4231 | 3.6126 | 22.5078
B2-B | 44 | 11.1696 |  |  | 6.4695 | 1.5172 | 2.3239 | 11.2237
B3-A | 45 | 51.5088 |  |  | 30.0499 | 11.9049 | 9.2527 | 52.1234
B3-B | 46 | 50.572 |  |  | 30.3886 | 11.6074 | 8.3572 | 51.2662

## calc 426
METAS TC offline
Sunset Laboratory OCEC Results
Date Calculated: 11-03-2020 Calc Version-Calc426
Sample ID | Optics/Det. Mode | OC(ug/sq cm) | OC unc | EC(ug/sq cm) | EC unc | CC(ug/sq cm) | CC unc | TC(ug/sq cm) | TC unc | EC/TC ratio | OCPk1 C ug/sqcm | OCPk2 C ug/sqcm | OCPk3 C ug/sqcm | OCPk4 C ug/sqcm | OCPk5 C ug/sqcm | OCPk6 C ug/sqcm | OCPk7 C ug/sqcm | OCPk8 C ug/sqcm | Pyrol C ug/sqcm | ECPk1 C ug/sqcm | ECPk2 C ug/sqcm | ECPk3 C ug/sqcm | ECPk4 C ug/sqcm | ECPk5 C ug/sqcm | ECPk6 C ug/sqcm | Date | Time | CalConst | Punch Area | FID1 | FID2 | calibration area | # Points | Split time(sec) | Manual split?(sec) | Init.Abs. | Abs.Coef. | Inst. Name | Atm.Pres.mmHg | Optical EC | Analyst | Laser Correction | Begin Int | End Int | TranTime | Analysis Parameter File
MR02_001-A(10min_uncoated)_f_offline | Trans./NDIR | NA | NA | NA | NA | 0 | - | 10.6204 | 0.73102 | NA | 0.039735 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8304 | 0.013286 | 10.5673 | na | na | na | na | 2020-09-11 | 10:41 | 22.412 | 1.005 | ok | ok | 59494.1 | 389 | 129 | <-- | 0 | 0 | Lab_NDIR1 | 377.1 | 0 | AR | 0.98484 | 0 | 389 | 9 | tc_withtempoffsets_20200813.par With Temp Offsets | SBversion 17302 | VBasic Version OCEC1133Ox
MR02_001-A(10min)_b_offline | Trans./NDIR | NA | NA | NA | NA | 0 | - | 0.74593 | 0.2373 | NA | 0.034175 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.00056829 | 0.0072439 | 0.70451 | na | na | na | na | 2020-09-11 | 10:54 | 22.412 | 1.005 | ok | ok | 59682.3 | 389 | 21 | <-- | 0 | 0 | Lab_NDIR1 | 377.2 | 0 | AR | 0.98815 | 0 | 389 | 9 | tc_withtempoffsets_20200813.par With Temp Offsets | SBversion 17302 | VBasic Version OCEC1133Ox
MR02_001-B(10min)_f_offline | Trans./NDIR | NA | NA | NA | NA | 0 | - | 5.4306 | 0.47153 | NA | 0.038825 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.76618 | 0.0083524 | 5.3834 | na | na | na | na | 2020-09-11 | 11:06 | 22.412 | 1.005 | ok | ok | 60181.4 | 389 | 125 | <-- | 0 | 0 | Lab_NDIR1 | 377.2 | 0 | AR | 0.98524 | 0 | 389 | 9 | tc_withtempoffsets_20200813.par With Temp Offsets | SBversion 17302 | VBasic Version OCEC1133Ox
MR02_001-B(5min_uncoated)_b_offline | Trans./NDIR | NA | NA | NA | NA | 0 | - | 0.47515 | 0.22376 | NA | 0.033635 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.00066197 | 0.011807 | 0.42971 | na | na | na | na | 2020-09-11 | 11:18 | 22.412 | 1.005 | ok | ok | 59257.5 | 389 | 21 | <-- | 0 | 0 | Lab_NDIR1 | 377.3 | 0 | AR | 0.81281 | 0 | 389 | 9 | tc_withtempoffsets_20200813.par With Temp Offsets | SBversion 17302 | VBasic Version OCEC1133Ox
MR02_001-C(5min_uncoated)_f_offline | Trans./NDIR | NA | NA | NA | NA | 0 | - | 3.4458 | 0.37229 | NA | 0.027167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.57209 | 0.0078591 | 3.4107 | na | na | na | na | 2020-09-11 | 11:30 | 22.412 | 1.005 | ok | ok | 60422.4 | 389 | 134 | <-- | 0 | 0 | Lab_NDIR1 | 377.1 | 0 | AR | 0.98593 | 0 | 389 | 9 | tc_withtempoffsets_20200813.par With Temp Offsets | SBversion 17302 | VBasic Version OCEC1133Ox
MR02_001-C(3min_uncoated)_b_offline | Trans./NDIR | NA | NA | NA | NA | 0 | - | 0.73247 | 0.23662 | NA | 0.03469 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.69814 | 0.0084368 | 0.68935 | na | na | na | na | 2020-09-11 | 11:44 | 22.412 | 1.005 | ok | ok | 60661.9 | 389 | 280 | <-- | 0 | 0 | Lab_NDIR1 | 377.2 | 0 | AR | 0.98673 | 0 | 389 | 9 | tc_withtempoffsets_20200813.par With Temp Offsets | SBversion 17302 | VBasic Version OCEC1133Ox
Jan TC offline test set
Sunset Laboratory OCEC Results
Date Calculated: 09-09-2020 Calc Version-Calc426
Sample ID | Optics/Det. Mode | OC(ug/sq cm) | OC unc | EC(ug/sq cm) | EC unc | CC(ug/sq cm) | CC unc | TC(ug/sq cm) | TC unc | EC/TC ratio | OCPk1 C ug/sqcm | OCPk2 C ug/sqcm | OCPk3 C ug/sqcm | OCPk4 C ug/sqcm | OCPk5 C ug/sqcm | OCPk6 C ug/sqcm | OCPk7 C ug/sqcm | OCPk8 C ug/sqcm | Pyrol C ug/sqcm | ECPk1 C ug/sqcm | ECPk2 C ug/sqcm | ECPk3 C ug/sqcm | ECPk4 C ug/sqcm | ECPk5 C ug/sqcm | ECPk6 C ug/sqcm | Date | Time | CalConst | Punch Area | FID1 | FID2 | calibration area | # Points | Split time(sec) | Manual split?(sec) | Init.Abs. | Abs.Coef. | Inst. Name | Atm.Pres.mmHg | Optical EC | Analyst | Laser Correction | Begin Int | End Int | TranTime | Analysis Parameter File
JS01-001-Del-DU-PM25-TC-14 | Trans./NDIR | NA | NA | NA | NA | 0 | - | 8.1428 | 0.60714 | NA | 0.018868 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.00043564 | 0.0077412 | 8.1162 | na | na | na | na | 2020-09-09 | 14:45 | 22.412 | 1.5 | ok | ok | 58091.6 | 389 | 21 | <-- | 0 | 0 | Lab_NDIR1 | 377.2 | 0 | js | 0.98302 | 0 | 389 | 9 | tc_withtempoffsets_20200813.par With Temp Offsets | SBversion 17302 | VBasic Version OCEC1133Ox
JS01-001-Del-DU-PM25-TC-15 | Trans./NDIR | NA | NA | NA | NA | 0 | - | 53.8609 | 2.893 | NA | 0.016797 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.0004002 | 0.0072419 | 53.8369 | na | na | na | na | 2020-09-09 | 14:57 | 22.412 | 1.5 | ok | ok | 59213.1 | 389 | 21 | <-- | 0 | 0 | Lab_NDIR1 | 377.2 | 0 | js | 0.96702 | 0 | 389 | 9 | tc_withtempoffsets_20200813.par With Temp Offsets | SBversion 17302 | VBasic Version OCEC1133Ox
JS01-001-Del-DU-PM25-TC-46 | Trans./NDIR | NA | NA | NA | NA | 0 | - | 5.9413 | 0.49707 | NA | 0.031113 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.1454 | 0.0038284 | 5.9064 | na | na | na | na | 2020-09-09 | 15:08 | 22.412 | 1.5 | ok | ok | 59780.6 | 389 | 132 | <-- | 0 | 0 | Lab_NDIR1 | 377.2 | 0 | js | 0.98441 | 0 | 389 | 9 | tc_withtempoffsets_20200813.par With Temp Offsets | SBversion 17302 | VBasic Version OCEC1133Ox
JS01-001-Del-DU-PM10-TC-14 | Trans./NDIR | NA | NA | NA | NA | 0 | - | 7.9283 | 0.59642 | NA | 0.026846 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.0005198 | 0.0056942 | 7.8958 | na | na | na | na | 2020-09-09 | 15:19 | 22.412 | 1.5 | ok | ok | 59459.6 | 389 | 21 | <-- | 0 | 0 | Lab_NDIR1 | 377.2 | 0 | js | 0.98294 | 0 | 389 | 9 | tc_withtempoffsets_20200813.par With Temp Offsets | SBversion 17302 | VBasic Version OCEC1133Ox
JS01-001-Del-DU-PM10-TC-15 | Trans./NDIR | NA | NA | NA | NA | 0 | - | 40.0845 | 2.2042 | NA | 0.02655 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.00052103 | 0.0077382 | 40.0502 | na | na | na | na | 2020-09-09 | 15:31 | 22.412 | 1.5 | ok | ok | 59988.7 | 389 | 21 | <-- | 0 | 0 | Lab_NDIR1 | 377.2 | 0 | js | 0.9764 | 0 | 389 | 9 | tc_withtempoffsets_20200813.par With Temp Offsets | SBversion 17302 | VBasic Version OCEC1133Ox
OxII | Trans./NDIR | NA | NA | NA | NA | 0 | - | 26.348 | 1.5174 | NA | 0.030691 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26.3172 | 0.0065672 | 26.3107 | na | na | na | na | 2020-09-09 | 15:54 | 22.412 | 1.5 | ok | ok | 60788.2 | 389 | 280 | <-- | 0 | 0 | Lab_NDIR1 | 377.2 | 0 | js | 0.98677 | 0 | 389 | 9 | tc_withtempoffsets_20200813.par With Temp Offsets | SBversion 17302 | VBasic Version OCEC1133Ox
JS01-001-Del-DU-PM10-TC-46 | Trans./NDIR | NA | NA | NA | NA | 0 | - | 8.2423 | 0.61212 | NA | 0.022869 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.349 | 0.0076929 | 8.2117 | na | na | na | na | 2020-09-09 | 16:05 | 22.412 | 1.5 | ok | ok | 59716.7 | 389 | 134 | <-- | 0 | 0 | Lab_NDIR1 | 377.2 | 0 | js | 0.98426 | 0 | 389 | 9 | tc_withtempoffsets_20200813.par With Temp Offsets | SBversion 17302 | VBasic Version OCEC1133Ox
Alessandra offline TC test set
Sunset Laboratory OCEC Results
Date Calculated: 09-15-2020 Calc Version-Calc426
Sample ID | Optics/Det. Mode | OC(ug/sq cm) | OC unc | EC(ug/sq cm) | EC unc | CC(ug/sq cm) | CC unc | TC(ug/sq cm) | TC unc | EC/TC ratio | OCPk1 C ug/sqcm | OCPk2 C ug/sqcm | OCPk3 C ug/sqcm | OCPk4 C ug/sqcm | OCPk5 C ug/sqcm | OCPk6 C ug/sqcm | OCPk7 C ug/sqcm | OCPk8 C ug/sqcm | Pyrol C ug/sqcm | ECPk1 C ug/sqcm | ECPk2 C ug/sqcm | ECPk3 C ug/sqcm | ECPk4 C ug/sqcm | ECPk5 C ug/sqcm | ECPk6 C ug/sqcm | Date | Time | CalConst | Punch Area | FID1 | FID2 | calibration area | # Points | Split time(sec) | Manual split?(sec) | Init.Abs. | Abs.Coef. | Inst. Name | Atm.Pres.mmHg | Optical EC | Analyst | Laser Correction | Begin Int | End Int | TranTime | Analysis Parameter File
20200915_batch36_fep3_standard_TC_1.5 | Trans./NDIR | NA | NA | NA | NA | 0 | - | 7.9904 | 0.59952 | NA | 0.019102 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.7739 | 0.0050459 | 7.9662 | na | na | na | na | 2020-09-15 | 13:31 | 22.412 | 1.5 | ok | ok | 60353.7 | 389 | 135 | <-- | 0 | 0 | Lab_NDIR1 | 377.2 | 0 | AR | 0.97478 | 0 | 389 | 9 | tc_withtempoffsets_20200813.par With Temp Offsets | SBversion 17302 | VBasic Version OCEC1133Ox
20200915_batch36_fep4_standard_TC_1.5 | Trans./NDIR | NA | NA | NA | NA | 0 | - | 15.253 | 0.96265 | NA | 0.024621 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.205 | 0.0058756 | 15.2225 | na | na | na | na | 2020-09-15 | 13:44 | 22.412 | 1.5 | ok | ok | 61333.4 | 389 | 134 | <-- | 0 | 0 | Lab_NDIR1 | 377.2 | 0 | AR | 0.96854 | 0 | 389 | 9 | tc_withtempoffsets_20200813.par With Temp Offsets | SBversion 17302 | VBasic Version OCEC1133Ox
20200922_batch36_falcon3_standard_tc_completefilter_1.5 | Trans./NDIR | NA | NA | NA | NA | 0 | - | 99.8855 | 5.1943 | NA | 0.030128 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 99.8491 | 0.0092062 | 99.8462 | na | na | na | na | 2020-09-22 | 9:19 | 22.412 | 1 | ok | ok | 59711.6 | 389 | 289 | <-- | 0 | 0 | Lab_NDIR1 | 377.2 | 0 | mr | 0.96804 | 0 | 389 | 9 | tc_withtempoffsets_20200813.par With Temp Offsets | SBversion 17302 | VBasic Version OCEC1133Ox
20200922_batch36_falcon4_standard_tc_completefilter_1.5 | Trans./NDIR | NA | NA | NA | NA | 0 | - | 70.174 | 3.7087 | NA | 0.044669 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.00065599 | 0.0048622 | 70.1245 | na | na | na | na | 2020-09-22 | 9:42 | 22.412 | 1 | ok | ok | 59328.7 | 389 | 21 | <-- | 0 | 0 | Lab_NDIR1 | 377.1 | 0 | mr | 0.98875 | 0 | 389 | 9 | tc_withtempoffsets_20200813.par With Temp Offsets | SBversion 17302 | VBasic Version OCEC1133Ox
20200922_batch36_fep4_standard_tc_completefilter_1 | Trans./NDIR | NA | NA | NA | NA | 0 | - | 48.8399 | 2.642 | NA | 0.032763 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22.9082 | 0.0076414 | 48.7995 | na | na | na | na | 2020-09-22 | 10:24 | 22.412 | 1 | ok | ok | 60565.1 | 389 | 138 | <-- | 0 | 0 | Lab_NDIR1 | 377.2 | 0 | mr | 0.96919 | 0 | 389 | 9 | tc_withtempoffsets_20200813.par With Temp Offsets | SBversion 17302 | VBasic Version OCEC1133Ox
20200922_batch37_falcon3_standard_tc_1.5 | Trans./NDIR | NA | NA | NA | NA | 0 | - | 25.5745 | 1.4787 | NA | 0.018932 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.1147 | 0.0040246 | 25.5515 | na | na | na | na | 2020-09-22 | 14:16 | 22.412 | 1.5 | ok | ok | 61265.1 | 389 | 130 | <-- | 0 | 0 | Lab_NDIR1 | 377.1 | 0 | ar | 0.97888 | 0 | 389 | 9 | tc_withtempoffsets_20200813.par With Temp Offsets | SBversion 17302 | VBasic Version OCEC1133Ox
20200924_batch38_falcon3_standard_tc_1.5 | Trans./NDIR | NA | NA | NA | NA | 0 | - | 30.5377 | 1.7269 | NA | 0.020127 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.5203 | 0.0048986 | 30.5127 | na | na | na | na | 2020-09-24 | 17:05 | 22.412 | 1.5 | ok | ok | 60369.7 | 389 | 128 | <-- | 0 | 0 | Lab_NDIR1 | 377.2 | 0 | AR | 0.96927 | 0 | 389 | 9 | tc_withtempoffsets_20200813.par With Temp Offsets | SBversion 17302 | VBasic Version OCEC1133Ox
20200922_batch37_falcon3_standard_tc_completefilter_1.5 | Trans./NDIR | NA | NA | NA | NA | 0 | - | 56.3526 | 3.0176 | NA | 0.014251 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.9185 | 0.0081846 | 56.3301 | na | na | na | na | 2020-09-22 | 15:19 | 22.412 | 1.5 | ok | ok | 59640.6 | 389 | 122 | <-- | 0 | 0 | Lab_NDIR1 | 377.2 | 0 | ar | 0.93253 | 0 | 389 | 9 | tc_withtempoffsets_20200813.par With Temp Offsets | SBversion 17302 | VBasic Version OCEC1133Ox
20200922_batch37_falcon4_standard_tc_1.5 | Trans./NDIR | NA | NA | NA | NA | 0 | - | 21.2026 | 1.2601 | NA | 0.020749 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.6264 | 0.00549 | 21.1763 | na | na | na | na | 2020-09-22 | 14:30 | 22.412 | 1.5 | ok | ok | 60655.5 | 389 | 129 | <-- | 0 | 0 | Lab_NDIR1 | 377.2 | 0 | ar | 0.97585 | 0 | 389 | 9 | tc_withtempoffsets_20200813.par With Temp Offsets | SBversion 17302 | VBasic Version OCEC1133Ox
20200922_batch37_falcon4_standard_tc_completefilter_1.5 | Trans./NDIR | NA | NA | NA | NA | 0 | - | 41.8903 | 2.2945 | NA | 0.017764 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.00041622 | 0.0068185 | 41.8657 | na | na | na | na | 2020-09-22 | 15:36 | 22.412 | 1.5 | ok | ok | 61320.9 | 389 | 21 | <-- | 0 | 0 | Lab_NDIR1 | 377.2 | 0 | ar | 0.98482 | 0 | 389 | 9 | tc_withtempoffsets_20200813.par With Temp Offsets | SBversion 17302 | VBasic Version OCEC1133Ox
20200922_batch37_fep3_standard_tc_1.5 | Trans./NDIR | NA | NA | NA | NA | 0 | - | 26.1566 | 1.5078 | NA | 0.016021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.6705 | 0.005319 | 26.1353 | na | na | na | na | 2020-09-22 | 14:41 | 22.412 | 1.5 | ok | ok | 59481.7 | 389 | 126 | <-- | 0 | 0 | Lab_NDIR1 | 377.1 | 0 | ar | 0.98905 | 0 | 389 | 9 | tc_withtempoffsets_20200813.par With Temp Offsets | SBversion 17302 | VBasic Version OCEC1133Ox
20200922_batch37_fep3_standard_tc_completefilter_1.5 | Trans./NDIR | NA | NA | NA | NA | 0 | - | 61.8119 | 3.2906 | NA | 0.0247 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26.8886 | 0.0056604 | 61.7816 | na | na | na | na | 2020-09-22 | 15:56 | 22.412 | 1.5 | ok | ok | 59041.7 | 389 | 130 | <-- | 0 | 0 | Lab_NDIR1 | 377.1 | 0 | ar | 0.97513 | 0 | 389 | 9 | tc_withtempoffsets_20200813.par With Temp Offsets | SBversion 17302 | VBasic Version OCEC1133Ox
20200922_batch37_fep4_standard_tc_1.5 | Trans./NDIR | NA | NA | NA | NA | 0 | - | 30.0537 | 1.7027 | NA | 0.019774 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.4576 | 0.0051437 | 30.0288 | na | na | na | na | 2020-09-22 | 14:54 | 22.412 | 1.5 | ok | ok | 61399.8 | 389 | 123 | <-- | 0 | 0 | Lab_NDIR1 | 377.1 | 0 | ar | 0.98223 | 0 | 389 | 9 | tc_withtempoffsets_20200813.par With Temp Offsets | SBversion 17302 | VBasic Version OCEC1133Ox
20200922_batch37_fep4_standard_tc_completefilter_1.5 | Trans./NDIR | NA | NA | NA | NA | 0 | - | 50.7269 | 2.7363 | NA | 0.017435 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50.4019 | 0.003565 | 50.7059 | na | na | na | na | 2020-09-22 | 16:10 | 22.412 | 1.5 | ok | ok | 60254.3 | 389 | 201 | <-- | 0 | 0 | Lab_NDIR1 | 377.1 | 0 | ar | 1.025 | 0 | 389 | 9 | tc_withtempoffsets_20200813.par With Temp Offsets | SBversion 17302 | VBasic Version OCEC1133Ox
TC India online test set
mr01-169-A3 | Trans./NDIR | NA | NA | NA | NA | 0 | - | 59.4911 | 3.1746 | NA | 0.0037478 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.2724 | 0.0032268 | 59.4841 | na | na | na | na | 2020-10-05 | 10:03 | 18.065 | 1.5 | ok | ok | 42801.4 | 389 | 132 | <-- | 0 | 0 | Lab_NDIR1 | 377.2 | 0 | mr | 0.9931 | 0 | 389 | 9 | tc_withtempoffsets_20200813.par With Temp Offsets | SBversion 17302 | VBasic Version OCEC1133Ox
mr01-169-B3 | Trans./NDIR | NA | NA | NA | NA | 0 | - | 85.9143 | 4.4957 | NA | 0.24669 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27.6634 | 0.02532 | 85.6423 | na | na | na | na | 2020-10-05 | 10:27 | 18.065 | 1.5 | ok | ok | 42981.5 | 389 | 128 | <-- | 0 | 0 | Lab_NDIR1 | 377.2 | 0 | mr | 0.99187 | 0 | 389 | 9 | tc_withtempoffsets_20200813.par With Temp Offsets | SBversion 17302 | VBasic Version OCEC1133Ox
mr01-169-C3 | Trans./NDIR | NA | NA | NA | NA | 0 | - | 75.2035 | 3.9602 | NA | 0.096337 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.2636 | 0.011978 | 75.0929 | 0.0022252 | na | na | na | 2020-10-05 | 10:51 | 18.065 | 1.5 | ok | ok | 43150.9 | 389 | 126 | <-- | 0 | 0 | Lab_NDIR1 | 377.3 | 0 | mr | 0.99465 | 0 | 389 | 9 | tc_withtempoffsets_20200813.par With Temp Offsets | SBversion 17302 | VBasic Version OCEC1133Ox
mr01-169-D3 | Trans./NDIR | NA | NA | NA | NA | 0 | - | 116.313 | 6.0157 | NA | 0.05274 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 43.7493 | 0.0071473 | 116.2484 | 0.0047171 | na | na | na | 2020-10-05 | 11:14 | 18.065 | 1.5 | ok | ok | 43316.1 | 389 | 128 | <-- | 0 | 0 | Lab_NDIR1 | 377.1 | 0 | mr | 0.99206 | 0 | 389 | 9 | tc_withtempoffsets_20200813.par With Temp Offsets | SBversion 17302 | VBasic Version OCEC1133Ox
mr01-169-E3 | Trans./NDIR | NA | NA | NA | NA | 0 | - | 43.5241 | 2.3762 | NA | 0.0057464 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.3838 | 0.0029427 | 43.5154 | na | na | na | na | 2020-10-05 | 11:38 | 18.065 | 1.5 | ok | ok | 43444.4 | 389 | 128 | <-- | 0 | 0 | Lab_NDIR1 | 377.1 | 0 | mr | 0.99279 | 0 | 389 | 9 | tc_withtempoffsets_20200813.par With Temp Offsets | SBversion 17302 | VBasic Version OCEC1133Ox
mr01-169-F3 | Trans./NDIR | NA | NA | NA | NA | 0 | - | 49.0854 | 2.6543 | NA | 0.022637 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.5825 | 0.0056171 | 49.0571 | na | na | na | na | 2020-10-05 | 12:01 | 18.065 | 1.5 | ok | ok | 43452.9 | 389 | 128 | <-- | 0 | 0 | Lab_NDIR1 | 377.3 | 0 | mr | 0.99478 | 0 | 389 | 9 | tc_withtempoffsets_20200813.par With Temp Offsets | SBversion 17302 | VBasic Version OCEC1133Ox

## tc-calc
TC (ug C)
1 | 10.3561
2 | 5.1189
3 | 3.0896
4 | 11.995
5 | 82.1006
6 | 8.6552
7 | 11.712
8 | 60.9794
9 | 40.0344
10 | 12.1678
11 | 11.8068
12 | 22.9362
13 | 101.4015
14 | 71.1397
15 | 49.4132
16 | 38.7577
17 | 46.3716
18 | 85.9478
19 | 32.0434
20 | 63.6901
21 | 39.648
22 | 93.9731
23 | 45.6293
24 | 77.1991
online
1 | 91.0042
2 | 131.1061
3 | 114.8591
4 | 177.8172
5 | 66.4561
6 | 74.9774